## MES Contract
Trust name: | Bedfordshire Hospitals NHS Foundation Trust
| MES Contract 1 | MES Contract 2
Supplier | None | None
Contract Start Date
Contract End Date
Initial Cost
Interest rates (%)
Consumables included?
Accessories included?
Maintenance included?

## Clinical Imaging Asset Details
Asset ID | Local Identifier | Modality (drop-down list) | Manufacturer | Asset name | Equipment detail | No. of devices | Age | First in Service | Planned replacement date | Replacement schedule (drop-down list) | Ownership structure (drop-down list) | How is the ownership accounted for? (drop-down list) | Capital purchase cost | Maintenance type (drop-down list) | Maintenance provider | Maintenance Service Contract Start Date | Maintenance Service Contract End Date | Maintenance Cost
| 00314CTS05 | CT | GE Medical Systems | 750HD | CT scanner with 64 detector rows or more but less than 256 detector rows with iterative reconstruction |  | 8.5068 | 2014-08-01 | 2023-03-31 | Due for replacement. Business Case pending | Capital purchase (new) |  | 744000 | Supplier provides maintenance |  | 2022-06-26 | 2023-06-26
| 00314CTS04 | CT | GE Medical Systems | Optima 660 | CT scanner with 64 detector rows or more but less than 256 detector rows with iterative reconstruction |  | 8.3397 | 2014-10-01 | 2023-10-01 | Due for replacement. Business Case pending | Capital purchase (new) |  | 419958 | Supplier provides maintenance |  | 2022-06-26 | 2023-06-26
| F516012 | Injector (CT) | Guerbet | Flowsens CT Injector pump | Power Injector (CT) |  | 6.8384 | 2016-04-01 | 2024-04-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2022-04-01 | 2023-03-31
| F516009 | Injector (CT) | Guerbet | Flowsens CT Injector pump | Power Injector (CT) |  | 6.8384 | 2016-04-01 | 2024-04-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2022-04-01 | 2023-03-31
| 74185454 | MRI | Philips Healthcare | Achieva 1.5 dStream | Close Bore 1.5T |  | 4.1699 | 2018-12-01 | 2025-12-01 | Not due for replacement | Capital purchase (new) |  | 786304 | Supplier provides maintenance |  | 2022-06-20 | 2023-06-20
| 74185451 | MRI | Philips Healthcare | Achieva 1.5 dStream | Close Bore 1.5T |  | 4.5041 | 2018-08-01 | 2025-08-01 | Not due for replacement | Capital purchase (new) |  | 984282 | Supplier provides maintenance |  | 2022-06-20 | 2023-06-20
| 74247395 | MRI | Philips Healthcare | Ingenia 1.5 | Close Bore 1.5T |  | 4.6712 | 2018-06-01 | 2025-06-01 | Not due for replacement | Capital purchase (new) |  | 461269 | Supplier provides maintenance |  | 2022-06-20 | 2023-06-20
| 100668 | Injector (MRI) | Bayer | MRXperion Injector Pump | Power Injector (MRI) |  | 4.1699 | 2018-12-01 | 2025-12-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2022-06-07 | 2023-06-06
| 100663 | Injector (MRI) | Bayer | MRXperion Injector Pump | Power Injector (MRI) |  | 4.5041 | 2018-08-01 | 2025-12-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2022-06-07 | 2023-06-06
| 100658 | Injector (MRI) | Bayer | MRXperion Injector Pump | Power Injector (MRI) |  | 4.1699 | 2018-12-01 | 2025-12-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2022-06-07 | 2023-06-06
| 006-MIS0057160 | Nuclear | Siemens Healthcare | Symbia Intevo Bold SPECT CT | SPECT-CT (<16 detector rows) |  | 3.8822 | 2019-03-16 | 2026-03-16 | Not due for replacement | Capital purchase (new) |  | 669000 | Supplier provides maintenance |  | 2019-03-31 | 2029-03-31
| GB100642-016-001 | Nuclear | Philips Healthcare | CARDIO MD | Gamma camera/SPECT |  | 14.8438 | 2008-04-01 | 2023-04-01 | Due for replacement. Business Case pending | Capital purchase (new) |  | 200918 | Supplier provides maintenance |  | 2022-04-01 | 2023-03-31
| J126F0036 | Fluoroscopy | Apelem | PLATINUM DRF | Fixed C-arm - Image intensifier |  | 10.0986 | 2012-12-28 | 2022-12-28 | Due for replacement. Business Case pending | Capital purchase (new) |  | 256079 | External Maintenance | Med Imaging | 2022-06-01 | 2023-05-31
| 3982 | X-ray | Apelem | CAMARGUE DR | Plain X-Ray (DR Static) |  | 10.1616 | 2012-12-05 | 2023-04-01 | Due for replacement. Business Case pending | Capital purchase (new) |  | 56919 | External Maintenance | Med Imaging | 2022-06-01 | 2023-05-31
| 006-AXD0059120 | Fluoroscopy | Siemens Healthcare | Artis Zee | Fixed C-arm - Flat Panel Digital Detector |  | 3.9123 | 2019-03-05 | 2029-03-05 | Not due for replacement | Capital purchase (new) |  | 386734 | Supplier provides maintenance |  | 2019-03-05 | 2029-03-31
| 02680S01 | X-ray | Xograph Healthcare/GE | Hybrid Chest Room | Plain Film Retrofitted - CR-DR Static |  | 37.2 | 1985-11-28 | 2023-04-01 | Due for replacement. Business Case pending | Capital purchase (new) |  |  | External Maintenance | Med Imaging | 2022-06-01 | 2023-05-31
| 53897343 | X-ray | Carestream Health | Carestream DRX Evolution Plus DR | Plain X-Ray (DR Static) |  | 7.8411 | 2015-04-01 | 2024-04-01 | Not due for replacement | Capital purchase (new) |  | 205800 | Supplier provides maintenance |  | 2023-01-01 | 2023-12-31
| 006-XPC0054520 | X-ray | Siemens Healthcare | Mobilett Elara Max | Plain X-Ray (DR Mobile) |  | 4.0301 | 2019-01-21 | 2029-01-21 | Not due for replacement | Capital purchase (new) |  | 75000 | Supplier provides maintenance |  | 2019-01-21 | 2029-01-21
| GB100642-018-001 | Fluoroscopy | Philips Healthcare | BV Pulsera | Mobile C-arm - Image Intensifier |  | 16.8466 | 2006-04-01 | 2023-03-31 | Due for replacement. Business Case pending | Capital purchase (new) |  | 79983 | Supplier provides maintenance |  | 2022-01-01 | 2023-12-31
| 37470 | Dental X-ray | Sirona | HELIODENT Intraoral Dental | Dental X-Ray (Intraoral) - Non Digital |  | 38.8603 | 1984-04-01 | 2025-04-01 | Not due for replacement | Capital purchase (new) |  | 30511 | External Maintenance | Med Imaging | 2022-06-01 | 2023-05-31
| 70451791 | Fluoroscopy | Philips Healthcare | Neo II | Mobile C-arm - Flat Panel Digital Detector |  | 5.8411 | 2017-03-31 | 2027-03-31 | Not due for replacement | Capital purchase (new) |  | 114000 | Supplier provides maintenance
| S11ZM3HK400002T | Ultrasound | Samsung | Samsung RS80A | 2D Ultrasound - General |  | 4.6712 | 2018-06-01 | 2023-10-01 | Replacement approved awaiting funds | Capital purchase (new) |  |  | Supplier provides maintenance
| S1BGM3HK6000013F | Ultrasound | Samsung | Samsung HS40 | 2D Ultrasound - General |  | 4.6712 | 2018-10-01 | 2023-10-01 | Replacement approved awaiting funds | Capital purchase (new) |  |  | Supplier provides maintenance
| S16SM3HK800002D | Ultrasound | Samsung | Samsung WS80A | 2D Ultrasound – Obstetric |  | 4.6712 | 2018-10-01 | 2023-10-01 | Replacement approved awaiting funds | Capital purchase (new) |  |  | Supplier provides maintenance
| S16M3HK800003X | Ultrasound | Samsung | Samsung WS80A | 2D Ultrasound – Obstetric |  | 4.6712 | 2018-10-01 | 2023-10-01 | Replacement approved awaiting funds | Capital purchase (new) |  |  | Supplier provides maintenance
| S16SM3HK800004N | Ultrasound | Samsung | Samsung WS80A | 2D Ultrasound – Obstetric |  | 4.6712 | 2018-10-01 | 2023-10-01 | Replacement approved awaiting funds | Capital purchase (new) |  |  | Supplier provides maintenance
| S11ZM3HJ900016A | Ultrasound | Samsung | Samsung RS80A | 2D Ultrasound - General |  | 5.2521 | 2017-04-01 | 2024-04-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance
| Pin 23133 | Mammography | Other | Pin 23133 | Specimen Imaging System (Cabinet) |  | 8.8411 | 2014-04-01 | 2022-10-01 | Due for replacement. Business Case pending | Capital purchase (refurbished) |  | 40200 | External Maintenance
| 502210US7 | Ultrasound | GE Medical Systems | 5U9 | 2D Ultrasound – Breast |  | 3.3671 | 2019-09-20 | 2027-09-20 | Not due for replacement | Capital purchase (new) |  | 65314 | Supplier provides maintenance
| 502216US7 | Ultrasound | GE Medical Systems | 5U6 | 2D Ultrasound – Breast |  | 3.3671 | 2019-09-20 | 2027-09-20 | Not due for replacement | Capital purchase (new) |  | 65314 | Supplier provides maintenance
| 502218US7 | Ultrasound | GE Medical Systems | 5U9 | 2D Ultrasound – Breast |  | 3.3671 | 2019-09-20 | 2027-09-20 | Not due for replacement | Capital purchase (new) |  | 65314 | Supplier provides maintenance
| 53R8M3FM800003R | X-ray | Samsung | SAMSUNG GC85A | Plain X-Ray (DR Static) |  | 2.9753 | 2020-02-10 | 2027-02-10 | Not due for replacement | Capital purchase (new) |  | 185352 | Supplier provides maintenance |  | 2022-04-04 | 2023-04-03
| 52RKM3DN100005M | X-ray | Samsung | SAMSUNG GC85A | Plain X-Ray (DR Static) |  | 2.8384 | 2020-03-31 | 2027-03-31 | Not due for replacement | Capital purchase (new) |  | 185352 | Supplier provides maintenance |  | 2022-04-04 | 2023-04-03
| 52X7M3HM500009T | X-ray | Samsung | SAMSUNG GC85 MOBILE | Plain X-Ray (DR Mobile) |  | 3.1699 | 2019-12-01 | 2026-12-01 | Not due for replacement | Capital purchase (new) |  | 98588 | Supplier provides maintenance |  | 2022-11-01 | 2023-11-01
| 52X7M3HM500008N | X-ray | Samsung | SAMSUNG GC85 MOBILE | Plain X-Ray (DR Mobile) |  | 3.1699 | 2019-12-01 | 2026-12-01 | Not due for replacement | Capital purchase (new) |  | 98588 | Supplier provides maintenance |  | 2022-11-01 | 2023-11-01
| 52X7M3HM500014M | X-ray | Samsung | SAMSUNG GC85 MOBILE | Plain X-Ray (DR Mobile) |  | 3.1699 | 2019-12-01 | 2026-12-01 | Not due for replacement | Capital purchase (new) |  | 98588 | Supplier provides maintenance |  | 2022-11-01 | 2023-11-01
| AXD0059140 | X-ray | Siemens Healthcare | Ysio Max DR | Plain X-Ray (DR Static) |  | 2.1041 | 2020-12-24 | 2027-12-24 | Not due for replacement | Capital purchase (new) |  | 207675 | Supplier provides maintenance |  | 2021-11-17 | 2029-11-17
| AXD0059130 | X-ray | Siemens Healthcare | Ysio Max DR | Plain X-Ray (DR Static) |  | 2.3342 | 2020-10-01 | 2027-10-01 | Not due for replacement | Capital purchase (new) |  | 207675 | Supplier provides maintenance |  | 2021-12-22 | 2030-12-21
| 11X1105 | Dental CT | Xograph Healthcare | A2 Dental | Dental OPG/CEPH CBCT |  | 2.3342 | 2020-10-01 | 2027-10-01 | Not due for replacement | Capital purchase (new) |  | 15750 | Supplier provides maintenance
| Topaz | X-ray | Medical Imaging Systems | TOPAZ mobile DR | Plain X-Ray (DR Mobile) |  | 2.6493 | 2020-06-08 | 2027-05-08 | Not due for replacement | Other |  |  | Supplier provides maintenance |  | 2022-02-07 | 2023-02-08
| 84800781 | X-ray | Philips Healthcare | Skyflow Mobile DR | Plain X-Ray (DR Mobile) |  | 2.2082 | 2020-11-16 | 2027-11-16 | Not due for replacement | Other |  |  | Supplier provides maintenance |  | 2022-06-30 | 2023-07-01
| NTPV7212492 | Dental CT | Xograph Healthcare | DENTAL | Cone Beam CT |  | 2.4055 | 2020-09-05 | 2027-09-05 | Not due for replacement | Owned by Trust Charity |  | 91930 | Supplier provides maintenance
| 00314CTS06 | CT | GE Medical Systems | Revolution Evo | CT scanner with 64 detector rows or more but less than 256 detector rows with iterative reconstruction |  | 2.6164 | 2020-06-20 | 2027-06-20 | Not due for replacement | Other |  |  | Supplier provides maintenance
| S1M5M3HN300007X | Ultrasound | Samsung | Samsung RS80 EVO | 2D Ultrasound - General |  | 2.3699 | 2020-09-18 | 2027-09-18 | Not due for replacement | Capital purchase (new) |  | 60192 | Supplier provides maintenance
| SN00000215 | Injector (CT) | Medical Imaging Systems | CT1 | C02 Insufflator |  | 2.5014 | 2020-08-01 | 2027-08-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance
| 301830 | Injector (CT) | Bayer | Stellant | Power Injector (CT) |  | 2.6164 | 2020-06-20 | 2027-06-20 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2022-06-17 | 2023-06-16
| MRI3 Aera | MRI | Siemens Healthcare | Aera 1.5T | Close Bore 1.5T |  | 4.7562 | 2018-05-01 | 2026-05-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2019-04-27 | 2024-04-26
| CT2 64 slice GE Optima | CT | GE Medical Systems | Optima CT | CT scanner with 64 detector rows or more but less than 256 detector rows with iterative reconstruction |  | 10.8411 | 2012-04-01 | 2023-04-01 | Due for replacement. Business Case pending | Lease hold |  |  | Supplier provides maintenance |  | 2020-05-01 | 2023-04-30
| XRAY 1 AGFA DR Proteus | X-ray | Agfa HealthCare | DXD100 DR Mobile | Plain X-Ray (DR Static) |  | 4.8384 | 2018-04-01 | 2028-04-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| XRAY 2 GE DR Discovery + Flashpads | X-ray | GE Medical Systems | DXD100 DR Mobile | Plain X-Ray (DR Static) |  | 10.1726 | 2012-12-01 | 2022-12-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| XRAY 3 Axio Luminos | Fluoroscopy | Siemens Healthcare | DXD100 DR Mobile | Fixed C-arm - Image intensifier |  | 15.3452 | 2007-10-01 | 2022-10-01 | Due for replacement. Business Case pending | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| US Room 4 GE Logic S8 | Ultrasound | GE Medical Systems | DXD100 DR Mobile | 2D Ultrasound - General |  | 9.8411 | 2013-04-01 | 2023-04-01 | Replacement approved awaiting funds | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| NUC MED Philips Brightview | Nuclear | Philips Healthcare | DXD100 DR Mobile | Gamma camera/SPECT |  | 11.6767 | 2011-06-01 | 2022-10-01 | Due for replacement. Business Case pending | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| DEXA GE Lunar Prodigy | DEXA | GE Medical Systems | DXD100 DR Mobile | Central Dexa Narrow Angle Fan Beam |  | 3.8411 | 2019-03-31 | 2029-03-31 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| II1 Philips Pulsera Blue | Fluoroscopy | Philips Healthcare | Philips Pulsera | Mobile C-arm - Image Intensifier |  | 14.3425 | 2008-10-01 | 2022-10-01 | Due for replacement. Business Case pending | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| II2 Philips Pulsera Red | Fluoroscopy | Philips Healthcare | Philips Pulsera | Mobile C-arm - Image Intensifier |  | 11.3425 | 2011-10-01 | 2022-10-01 | Due for replacement. Business Case pending | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| II3 Philips Pulsera Brown | Fluoroscopy | Philips Healthcare | Philips Pulsera | Mobile C-arm - Image Intensifier |  | 9.3397 | 2013-10-01 | 2023-10-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| II4 Philips Pulsera Endoscopy | Fluoroscopy | Philips Healthcare | Philips Pulsera | Mobile C-arm - Image Intensifier |  | 7.3397 | 2015-10-01 | 2025-10-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| MOBILE1 AGFA DX D100 | X-ray | Agfa HealthCare | DXD100 DR Mobile | Plain X-Ray (DR Mobile) |  | 4.8384 | 2018-04-01 | 2028-04-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| MOBILE2 AGFA DX D100 | X-ray | Agfa HealthCare | DXD100 DR Mobile | Plain X-Ray (DR Mobile) |  | 4.7562 | 2018-05-01 | 2028-05-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| MOBILE3 AGFA DX D100 | X-ray | Agfa HealthCare | DXD100 DR Mobile | Plain X-Ray (DR Mobile) |  | 3.8411 | 2019-03-31 | 2029-03-31 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| MOBILE4 AGFA DX D100 | X-ray | Agfa HealthCare | DXD100 DR Mobile | Plain X-Ray (DR Mobile) |  | 3.8411 | 2019-03-31 | 2029-03-31 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Angiography Suite Th8 Siemens Artis | Fluoroscopy | Siemens Healthcare | Siemens Artis | Interventional Radiology Single Plane |  | 12.1753 | 2010-12-01 | 2022-12-01 | Due for replacement. Business Case pending | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Cardiac Cath Canon Alphenix | Fluoroscopy | Toshiba Medical Systems | Canon Alphenix | Cardiac Bi-Plane |  | 4 | 2019-02-01 | 2027-02-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| AE XRAY 1 Proteus | X-ray | GE Medical Systems | GE Proteus | Plain Film Retrofitted - CR-DR Static |  | 9.8411 | 2013-04-01 | 2023-04-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| AE XRAY 2 Xograph BuckyStar | X-ray | Xograph Healthcare | Xograph BuckyStar | Plain Film Retrofitted - CR-DR Static |  | 19.8493 | 2003-04-01 | 2023-04-01 | Due for replacement. Business Case pending | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Injector MRI2 | Injector (MRI) | Bayer | MRXperion Injector Pump | Power Injector (MRI) |  | 4.7562 | 2018-05-01 | 2028-05-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Injector CT1 | Injector (CT) | Guerbet | Flowsens CT Injector pump | Power Injector (CT) |  | 8.1726 | 2014-12-01 | 2024-12-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Injector CT2 | Injector (CT) | Guerbet | Flowsens CT Injector pump | Power Injector (CT) |  | 8.1726 | 2014-12-01 | 2024-12-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Injector Cath Lab Illumena | Injector (Other) | Guerbet | Illumena injector | Power Injector (Other) |  | 4 | 2019-02-01 | 2029-02-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Injector Angiosuite Medrad Stellant | Injector (MRI) | Bayer | Stellant Injector | Power Injector (Angio) |  | 5.8384 | 2017-04-01 | 2027-04-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Injector Theatre 2 Medrad Solaris | Injector (Other) | Bayer | Solaris Injector | Power Injector (Other) |  | 5.8384 | 2017-04-01 | 2027-04-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Mammography Hologic System | Mammography | Other | Mammo | Digital Mammography (2D) (Symptomatic - static) |  | 6.9233 | 2016-03-01 | 2024-03-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Breast Specimen Kubtek | Mammography | Other | Mammo | Specimen Imaging System (Cabinet) |  | 6.337 | 2016-10-01 | 2024-10-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Breast Ultrasound Toshiba Aplio i700 | Ultrasound | Toshiba Medical Systems | Mammo | 2D Ultrasound - General |  | 4.7562 | 2018-05-01 | 2026-05-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| mini C ARM Vertec | Fluoroscopy | Vertec Scientific | Mini C arm | Mobile C-arm - Image Intensifier |  | 4.6712 | 2018-06-01 | 2028-06-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| CT 1 GE Revo | CT | GE Medical Systems | Revolution Discovery HD | CT scanner with 64 detector rows or more but less than 256 detector rows |  | 3.1699 | 2019-12-01 | 2027-12-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2019-12-23 | 2029-12-22
| II Vascular Theatres | Fluoroscopy | Siemens Healthcare | II5 | Mobile C-arm - Flat Panel Digital Detector |  | 3.1699 | 2019-12-01 | 2029-12-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Dental Room Equipment OPG | Dental X-ray | Carestream Health | OPG & Ceph | OPG+Ceph |  | 3.5041 | 2019-08-01 | 2029-08-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance | Holbert | 2021-11-01 | 2026-10-31
| Dental Room Equipment Intra Oral | Dental X-ray | Carestream Health | Dental Intraoral | Dental X-Ray (Intraoral) - Non Digital |  | 3.6712 | 2019-06-01 | 2029-06-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Ultrasound Portable Wards | Ultrasound | Canon | Aplio A450 | 2D Ultrasound - General |  | 2.8384 | 2020-03-31 | 2027-03-31 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2020-03-19 | 2027-03-18
| Ultrasound Theatre 8 | Ultrasound | Canon | Xario 200G | 2D Ultrasound – Obstetric |  | 2.8384 | 2020-03-31 | 2030-03-31 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Ultrasound Obstetrics Room 2 | Ultrasound | Canon | Aplio A450 | 2D Ultrasound – Obstetric |  | 3.4055 | 2019-09-06 | 2024-09-06 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Ultrasound Obstetrics Room 3 | Ultrasound | Samsung | W10 Herera | 2D Ultrasound – Obstetric |  | 1.874 | 2021-03-18 | 2026-03-18 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance
| Mobile AGFA (5) X-Ray Unit | X-ray | Agfa HealthCare | DXD100 DR Mobile | Plain X-Ray (DR Mobile) |  | 2.6685 | 2020-06-01 | 2030-06-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Mobile GE X-Ray Unit | X-ray | GE Medical Systems | Mobile GE X-Ray | Plain X-Ray (DR Mobile) |  | 2.6685 | 2020-06-01 | 2030-06-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Injector MRI 1 - Sola Room | Injector (MRI) | Bayer | MRXperion Injector Pump | Power Injector (MRI) |  | 2.0849 | 2020-12-31 | 2030-12-31 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Ultrasound Main Dep Room 1 | Ultrasound | Samsung | RS85 | 2D Ultrasound - General |  | 1.8384 | 2021-03-31 | 2028-03-31 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Ultrasound Main Dep Room 2 | Ultrasound | Samsung | RS85 | 2D Ultrasound - General |  | 1.8384 | 2021-03-31 | 2028-03-31 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Ultrasound Main Dep Room 3 | Ultrasound | Samsung | RS85 | 2D Ultrasound - General |  | 1.8384 | 2021-03-31 | 2028-03-31 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| MRI Scanner Room 1 | MRI | Siemens Healthcare | Sola 1.5T | Close Bore 1.5T |  | 1.9973 | 2021-02-01 | 2029-02-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| MRI Scanner Mobile Unit | MRI | GE Medical Systems | Signa 1.5T | Close Bore 1.5T |  | 1.9205 | 2021-03-01 | 2029-03-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Injector MRI Mobile Unit | Injector (MRI) | Bayer | MRXperion Injector Pump | Power Injector (MRI) |  | 1.8384 | 2021-03-31 | 2029-03-31 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| C02 Insuflattor New CT | Other | Med Imaging | CT 1 | C02 Insufflator |  | 2.8356 | 2020-04-01 | 2028-04-01 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Ultrasound Obstetrics Room 1 | Ultrasound | Canon | Aplio A450 | 2D Ultrasound – Obstetric |  | 3.4055 | 2019-09-06 | 2027-09-06 | Not due for replacement | Capital purchase (new) |  |  | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Breast Unit Rm1 | Mammography | GE Medical Systems | Room 1 | 3D Mammography Tomosynthesis - (Screening - static) - Contrast Enhanced Spectral mammography |  | 1.1671 | 2021-12-01 | 2030-12-01 | Not due for replacement | Capital purchase (new) |  | 317400 | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Breast Unit Rm2 | Mammography | GE Medical Systems | Room 2 | 3D Mammography Tomosynthesis - (Screening - static) - Contrast Enhanced Spectral mammography |  | 1.211 | 2021-11-15 | 2030-11-15 | Not due for replacement | Capital purchase (new) |  | 317400 | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Mobile Screening Van 1 | Mammography | GE Medical Systems | Spring | Digital Mammography (2D) (Screening - trailer) |  | 1.211 | 2021-11-15 | 2030-11-15 | Not due for replacement | Capital purchase (new) |  | 169920 | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Mobile Screening Van 2 | Mammography | GE Medical Systems | Autumn | Digital Mammography (2D) (Screening - trailer) |  | 1.2493 | 2021-11-01 | 2030-11-01 | Not due for replacement | Capital purchase (new) |  | 169920 | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Mobile Screening Van 3 | Mammography | GE Medical Systems | Winter | Digital Mammography (2D) (Screening - trailer) |  | 1.2959 | 2021-10-15 | 2030-10-15 | Not due for replacement | Capital purchase (new) |  | 169920 | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Mobile Screening Van 4 | Mammography | GE Medical Systems | Summer | Digital Mammography (2D) (Screening - trailer) |  | 1.3342 | 2021-10-01 | 2030-10-01 | Not due for replacement | Capital purchase (new) |  | 169920 | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Breast Unit Rm 3 | Mammography | GE Medical Systems | Room 3 | Digital Mammography (2D) (Screening - static) |  | 1.1288 | 2021-12-15 | 2030-12-15 | Not due for replacement | Capital purchase (new) |  | 169920 | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| Breast Unit Rm 4 | Mammography | GE Medical Systems | Room 4 | Digital Mammography (2D) (Screening - static) |  | 1.3781 | 2021-09-15 | 2030-09-15 | Not due for replacement | Capital purchase (new) |  | 169920 | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| DEXA | DEXA | GE Medical Systems | DEXA | Central Dexa Pencil Beam |  | 1.3836 | 2021-09-13 | 2031-09-22 | Not due for replacement | Capital purchase (new) |  | 93171 | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| GB100642-018-002-9777730 | Fluoroscopy | Philips Healthcare | IIZEN | Mobile C-arm - Image Intensifier |  | 1.8411 | 2021-03-30 | 2030-03-31 | Not due for replacement | Capital purchase (new) |  | 71000 | Supplier provides maintenance |  | 2021-11-01 | 2026-10-31
| S11ZM3HJ300008N | Ultrasound | Samsung | RS80A | Ultrasound - General |  | 1.8411 | 2017-03-01 | 2023-03-01 | Replacement approved awaiting funds | Capital purchase (new) |  | 65296 | Asset within warranty |  | 2021-11-01 | 2026-10-31
| S11ZM3HJ300009E | Ultrasound | Samsung | RS80A | Ultrasound - General |  | 1.8411 | 2017-03-01 | 2023-03-01 | Replacement approved awaiting funds | Capital purchase (new) |  | 65296 | Asset within warranty |  | 2021-11-01 | 2026-10-31
| S1ZGM3HR300011L | Ultrasound | Samsung | RS80 EVO | Ultrasound - General |  | 1.7973 | 2021-04-15 | 2028-04-15 | Not due for replacement | Capital purchase (new) |  | 65296 | Asset within warranty |  | 2021-11-01 | 2026-10-31
| S1H2M3HR300018P | Ultrasound | Samsung | W10 | Ultrasound – Obstetric |  | 1.7068 | 2021-04-26 | 2028-04-26 | Not due for replacement | Capital purchase (new) |  | 31164 | Asset within warranty |  | 2021-11-01 | 2026-10-31
| S1H2M3HR300007X | Ultrasound | Samsung | W10 | Ultrasound – Obstetric |  | 1.7342 | 2021-04-26 | 2028-04-26 | Not due for replacement | Capital purchase (new) |  | 31164 | Asset within warranty |  | 2021-11-01 | 2026-10-31
| S1H2M3HR300019D | Ultrasound | Samsung | W10 | Ultrasound – Obstetric |  | 1.8384 | 2021-04-26 | 2028-04-26 | Not due for replacement | Capital purchase (new) |  | 31164 | Asset within warranty |  | 2021-11-01 | 2026-10-31
| S2BYM3HT300001K | Ultrasound | Samsung | RS80A | Ultrasound - General |  | 0.84658 | 2022-03-28 | 2029-03-28 | Not due for replacement | Capital purchase (new) |  | 44500 | Asset within warranty |  | 2021-11-01 | 2026-10-31
| S1H2M3HR300014K | Ultrasound | Samsung | W10 | Ultrasound – Obstetric |  | 1.8384 | 2021-04-26 | 2028-04-26 | Not due for replacement | Capital purchase (new) |  |  | Asset within warranty |  | 2021-11-01 | 2026-10-31
| Cauldwell DR Room | X-ray | Agfa HealthCare | DR600 | Plain X-Ray (DR Static) |  | 1.0712 | 2022-01-05 | 2030-01-05 | Not due for replacement | Capital purchase (new) |  |  | Asset within warranty
Note on I1: Georgina Kovacs: or date of purchase if awaiting installation, or date retrofitting was completed