Interventional X-Ray Systems (Angiography)

For each system, please provide:

- Hospital where installed (Bedford)

- Make (Siemens)

- Model (Artis Zee)

- Date installed (2010)

- Make (Siemens)

- Model (Alphenix Sky)

- Date installed (2019)

Gamma Camera and SPECT-CT Systems 
For each nuclear medicine system, please provide:

- Hospital where installed (Bedford)

- Make (Philips)

- Model (Brightview XCT 453560462131)

- Year installed (2011)

Ultrasound Systems (Radiology) 
For each system, please provide:

- Hospital where installed (Bedford)

- Make (Samsung (4))

- Model (RS85G4N/GB)

- Year installed (2022)

- Make (Samsung (2))

- Model (W10)

- Year installed (2021)

- Make (Canon (5))

- Model (Aplio A450/Aplio 400/Xario 200G/ I700)

- Year installed (2019 /2020)/ (2013)/(2019)/(2018)

Mobile/Surgical C-Arm Fluoroscopy Systems

For each system, please provide:

- Hospital where installed (Bedford)

- Make (Siemens)

- Model (Artis Zee Multi-purpose) & Ysio Xpree

- Year installed (2024/25)

| Fluoro Mini FPD | Hologic Fluoroscan InSight FD | 2017 |
| --- | --- | --- |
| Fluoro Mobile II | Philips BV Pulsera (12 inch) | 2008 |
| Fluoro Mobile II | Philips BV Pulsera (12 inch) | 2015 |
| Fluoro Mobile II | Philips BV Pulsera (9 inch) | 2012 |
| Fluoro Mobile II | Philips BV Pulsera (9 inch) | 2013 |
| Fluoro Mobile II | Siemens Cios Alpha | 2019 |
| Fluoro Room FPD | Canon | 2018 |
| Fluoro Room II | Siemens AXIOM Artis Zee | 2010 |