## Sheet1
Q1:
Date | Chemical Measured | Laboratory Area | Measurement (PPM) | Below Max Exposure Limits? | Action Required?
2025-05-21 | formaldehyde | Dissection room - BMS transfers down flow bench | <2 | Yes (DP) | No
Formalin | Location | Date | start time | End time | Result (ppm) |  | Within safe limits
Formalin | Assist BMS cut up and scribe | 10.04.25 | 9:00 | 16:00 |  | 0.022 | Yes
Formalin | Doctors assist and scribe | 10.04.25 | 9:00 | 14:00 |  | 0.28 | Yes
Formalin | BMS transfers | 10.04.25 | 9:00 | 15:00 |  | 0.86 | Yes
Formalin | Doctors assist and scribe | 15.05.25 | 8:45 | 5:30 |  | 0.068 | Yes
Formalin | BMS transfers | 15.05.25 | 10:45 | 17:40 |  | 0.028 | Yes
Formalin | BMS transfers | 15.05.25 | 8:45 | 15:10 |  | 0.017 | Yes
Q9:
Date | Chemical Measured | Laboratory Area | Measurement (PPM) | Below Max Exposure Limits? | Action Required?
2025-05-21 | formaldehyde | Dissection room - BMS transfers downflow bench | <2 | Yes (DP) | No
Formalin | Location | Date | start time | End time | Result (ppm) | Within safe limits
Formalin | Assist BMS cut up and scribe | 10.04.25 | 9:00 | 16:00 | 0.022 | Yes
Formalin | Doctors assist and scribe | 10.04.25 | 9:00 | 14:00 | 0.28 | Yes
Formalin | BMS transfers | 10.04.25 | 9:00 | 15:00 | 0.86 | Yes
Formalin | Doctors assist and scribe | 15.05.25 | 8:45 | 5:30 | 0.068 | Yes
Formalin | BMS transfers | 15.05.25 | 10:45 | 17:40 | 0.028 | Yes
Formalin | BMS transfers | 15.05.25 | 8:45 | 15:10 | 0.017 | Yes
Chemical Measured |  | Laboratory Area |  | Measurement (PPM) | Below Max Exposure Limits? | Action Required?
Formaldehyde | Dissection room- fume hood (after formalin spillage) |  | ~3 |  | No (AL/SM) | Formalin spillage cleared, area ventilated, check again later
Formaldehyde | Dissection room- Fume hood (check) | <2 | YES (AL) | No
Formaldehyde | Dissection room- AFOS BENCH | <2 | YES (AL) | No
Formalin | Location | Date | start time | End time | Result (ppm) | Within safe limits
Formalin | BMS dissection - badge worn to low on coat | 2024-11-15 | 13:00 | 14:20 | 6.6 | No
Formalin | Location | Date | start time | End time | Result (ppm) | Within safe limits
Formalin | BMS dissection - Repeat test | 2024-12-20 | 14:30 | 16:30 | <0.054 | Yes